Request for Proposal (RFP)

Design and Installation of Audio/Visual System for Web-Accessible Board and Committee Meetings

Issued by: Rogue Valley Sewer Services (RVSS)
Issue Date: November 17, 2026
Submission Date: March 3, 2026
Contact: Carole Balzer
📧 cbalzer@rvss-or.gov

1. Project Overview

Rogue Valley Sewer Services (RVSS) is soliciting proposals from qualified vendors for the design and installation of an upgraded Audio/Visual (A/V) system to support hybrid (in-person and online) Board and Committee meetings. The new system must provide high-quality, reliable video and audio for both in-room and remote participants, with simple operation and integration into the existing Zoom Room environment.

2. Room Description

- Room Size: 22 feet x 32 feet

- Seating Layout:

  - Option 1: Horsesho  e configuration facing the long direction (covering approximately two-thirds of the room)

  - Option 2: Circular configuration covering the entire room

- Capacity: Up to 25 in-room participants, plus additional remote participants

3. System Requirements

Video

- Multiple PTZ (Pan-Tilt-Zoom) cameras capable of quickly zooming in on the active speaker.

- HD or higher video quality.

- Integration with Zoom Rooms, with potential future flexibility for other platforms.

Audio

- Individual microphones for each participant, ideally programmable to display participant names in closed captioning and meeting transcripts when speaking.

- Clear, echo-free, full-room audio for both in-room and online participants.

- Integration with the new video system for automatic camera switching when possible.

Control & Operation

- Centralized and simple control interface (tablet or laptop-based).

- Managed by a dedicated meeting PC (appropriate for manufacturer-certified Zoom Room use).

- Prefer connection to the Guest Wi-Fi network rather than the organization’s internal LAN.

Displays

- Integration with existing three HD TVs (reuse where feasible) or recommendations for upgrade if required.

System Design

- Vendors should propose a complete solution, including:

  - System diagram(s)

  - Equipment list (make/model)

  - Installation approach and timeline

  - Training and user documentation

4. Current Setup

- One (1) Zoom Room configuration

- One (1) camera

- One (1) sound/microphone bar

- Three (3) 65” HD TVs

5. Schedule

All work associated with this project must be fully completed and operational by November 1, 2026.

If selected, a contract will not be executed and purchasing will not occur until after July 1, 2026. Vendors should plan project timelines, equipment availability, cost and delivery schedules accordingly.

6. Vendor Responsibilities

- Conduct site visit to review existing setup and confirm requirements.

- Provide design recommendations and total cost (equipment, installation, configuration, and hands-on training for upper management and a step-by-step user manual).

- Training shall include hands-on training for up to 10 employees

- Include warranty and service information.

7. Site Visit

Interested vendors should email cbalzer@rvss-or.gov to schedule a site visit prior to submitting a proposal.

8. Submission Instructions

Proposals should be submitted electronically in PDF format to:
📧 cbalzer@rvss-or.gov
Subject line: “Proposal – Board Room A/V System Upgrade”

Please include:

- Company information and relevant experience

- Customer References

- Proposed solution and equipment

- Line item project cost and timeline

- Warranty and support options

9. Evaluation

Proposals will be evaluated based on:

- Technical compliance with specifications

- Ease of use and reliability of proposed solution

- Vendor experience and references

- Total cost and value

- Warranty and service support